## Slide 1: Servients from participants on TPAC2017 plugfest
Device Servient
(Lemonbeat)
Device Servient
(Panasonic)
Device Servient
(Panasonic)
Device Servient
(Panasonic)
Remote Proxy Servient
(Siemens)
Device Servient
BACnet
(Siemens)
Device Servient
Modbus/TCP
(Siemens)
Device Servient
(Panasonic)
Device Servient
(Lemonbeat)
Local Proxy Servient
(Fujitsu)
Device Servient
Rotating light
(Fujitsu)
Local Proxy Servient
(Fujitsu)
Device Servient
Air Conditioner
(Fujitsu)
Device Servient
LED Light
(Fujitsu)
Remote Proxy Servient
(Fujitsu)
Application Servient
Scripting
(Fujitsu)
Application Servient
Node-RED
(Fujitsu)
Local Proxy Servient
(Siemens)
Application Servient
Scripting
(Panasonic)
Application Servient
Node-RED
(Panasonic)
Device Servient
(Intel)
Device Servient
(SmartThings)
Application Servient
(Siemens)
Application Servient
(IRI)
Device Servient
(EUROCOM)
Internet
Local network
Osaka, Japan
Kanazawa, Japan
NAT / Firewall
San Francisco

## Slide 2: Servients and protocols (1 of 2)
Servients | Fujitsu |  | Panasonic | Internet Research Institute (IRI) | Siemens | Lemonbeat
Application | Scripting app. | NodeRED | Scripting/NodeRED | NodeRED |  | 
protocol | http | http(s) | https+wss | http(s) |  | 
Remote proxy | FJ-Server |  |  |  |  | 
protocol | http(s) |  |  |  |  | 
Local proxy | FJ-GW | FJ-GW |  |  |  | 
protocol | http | http |  |  |  | 
Device | LED | Air conditioner, LED light, Blind | Air conditioner, Robot cleaner, LED light |  |  | 

## Slide 3: Servients and protocols (2 of 2)
Servients | Intel | SmartThings | EUROCOM |  | 
Application |  |  |  |  | 
protocol |  |  |  |  | 
Remote proxy |  |  |  |  | 
protocol |  |  |  |  | 
Local proxy |  |  |  |  | 
protocol |  |  |  |  | 
Device |  |  |  |  | 

## Slide 4: High-level description of Issues
Fujitsu’s issues
  Interface between Servients
    Authentication
    Discovery and exchange of TDs
    Firewall and NAT traversal
    Event operation using HTTP
  Sequence diagram
  Thing Description management
    Life cycle management of TD
    TD repositories on the Servient
Intel’s issues
SmartThings’s issues
Siemens’s issues
Panasonic’s issues
  Event operation using WSS
IRI’s issues
Xxx’s issues

## Slide 5: Deadlines and plugfest schedule
Oct. 18
  Complete the table “Servient and protocol”
    Who provides which servients?
  Collection of TD for the Servients on the plugfest
  Application scenarios
Oct. 25
  Specify Inter-Servient interface
Open: 9am-6pm on Nov. 4, 5
  1st day: preparation and plugfest
  2nd day: plugfest in the morning
  demonstration and discussion in the afternoon